## equipment
Item Description | part # | qty
Goodman packaged 14 SEER heat/cool | GPG1424060M41 | 1 | NEW 8/16
GALAXY PKG STEAM BOILER 120 BTUH | GXHA120EDPZ | 1 | NEW 8/16
CC ERV 100 CFM | VE30100 | 1 | NEW 8/16
CC HRV 100 CFM | VH30100 | 1 | NEW 8/16
80% AFUE SINGLE STAGE ECM FRN (DOWNFLOW) | GMES800603BN | 1 | NEW 8/16
96% AFUE TWO STAGE VARIABLE SPEED | GMVC960603BN | 1 | NEW 8/16
92% AFUE 80K W/ECM SINGLE SPEED CONST. TORQUE | N92ESN0801716A | 1 | NEW 8/16
COIL EVAPORATOR | END4X36L17A | 1 | NEW 8/16
CONDENSING UNIT 13SEER/11EER 3TON | N4A336AKF | 1 | NEW 8/16
NG WATER TANK 40G 40K | GCR-40NG | 1 | NEW 8/16
NG WATER TANK 90% 40G 50K | GPVT-40NG | 1 | NEW 8/16
NG TANKLESS WATER HEATER, NAVIAN | PNPE0020019G001 NPE150S2 | 1 | NEW 8/16
80% HOT WATER BOILER W/1 ZONE | AWR070BNST3PSU | 1 | NEW 8/16
PUMP CIRCULATOR, CAST IRON, FOR AWR070BNST3PSU | 007-F5 | 1 | NEW 8/16
HOT WATER 90% BOILER W/ZONES | K2WT-080B-6G00 | 1 | NEW 8/16
3" PVC VENT KIT CPVC STARTER FOR K2WT-080B-6G00 | 107039-02 | 1 | NEW 8/16
COMBI BOILER | K2WT-180B-6T02 | 1 | NEW 8/16
VARIABLE FIRING RATE FURNACE 97% 70K | A97USMV070B12S | 1 | NEW8/25
80% FAN INDUCED FURNACE W/ECM | 80G1UH090BE16 | 1 | NEW8/25
MOBILE HOME FURNACE, GAS 80% | MG1E070F1AEM1 | 1 | NEW 8/16
MOBLIE HOME FURNACE, GAS 95% | MG2R-060F1ABM | 1 | NEW 8/16
MOBIE HOME WATER HEATER, GAS 30 GAL, DIRECT VENT | PROG30-30N RH63 MH DV | 1 | NEW 8/16
MOBILE HOME WATER HEATER, GAS | 24I30FT 30 GAL STANDARD | 1 | NEW 8/16

## equipment inventory (hidden)
| qty | item | model number | verified? | condition?
mitsubishi equipment
ü | 3 | wireless interface | PAC-USWHS002-WF-2 | yes | New
ü | 2 | wireless remote controller | MHK2 | yes | New
ü | 1 | thermostat interface | PAC-US444CN-1 | yes | New
ü | 1 | Multi-position air handler | SVZKP12NA | yes | New
ü | 1 | Branch Box | PAC-MKA32BC | yes | New
ü | 1 | Ceiling Cassette | MLZ-KP09NA-U1 | yes | New
ü | 1 | Grill for MLZ-KP09NA-U1 | MLP-444WU | yes | New
ü | 1 | Ma touch remote controller | PAR-CT01MAU-SB | yes | New
ü | 1 | Simple MA remote controller | PAC-YT53CRAU-J | yes | New
| 1 | Hyper heat outdoor unit | NAXSPB09A112AA | yes | New
ü | 1 | wall mount indoor unit | MSZ-GL06NA-U1 | yes | New
ü | 1 | multi-zone outdoor unit | MXZ-3C24NA2-U1 | yes | New
ü | 1 | grill | SLP-18FAU | yes | New
| 1 | hyper heat indoor unit (wall mount) | MSZ-FH09NA | yes | New
ü | 1 | horizontal ducted indoor unit | SEZ-KD12NA4R1.TH | yes | New
ü | 1 | 2x2 ceiling cassette | SLZ-KF12NA.TH | yes | New
existing used equipment
| 1 | 80% afue faf 50k no burner | T8MPN050B12B2 | yes | Used | non functional
| 1 | natdraft faf downflow 75k | 396GAD036075AFEA | yes | Used | non functional
| 1 | natdraft faf upflow 75k missing burner | 58GS075-2 | yes | Used | non functional
| 2 | cat1 faf upflow 75k w/2stage heat ex | RGPS-07EAMER | yes | Used | non functional
| 1 | natdraft faf 75k w/supply plenum | NUGG075DG03 | yes | Used | repairable | unknown condition of heat ex
| 1 | cat1 faf upflow 40k w/ac coil | TUE1A040A9241AC | yes | Used | repairable | unknown condition of heat ex
| 1 | AC coil R410a mounted on faf | CNPVP2414ATAACAA | yes | Used | repairable
| 1 | AC condenser 1.5ton r410a | PA13NA018-B | yes | Used | repairable
| 1 | domestic WH 40G 35.5k | 640G0RT 200 | yes | Used | non functional
| 1 | domestic WH 40G 28K | 6E709 | yes | Used | non functional
| 1 | CAT1 faf 100k | RGPN-10EAMER | yes | Used | repairable | unknown condition of heat ex
| 1 | cat1 faf 60k | GMS80603ANBA | yes | Used | repairable | unknown condition of heat ex
| 1 | AC condenser 3 ton r410a | RA1636AJ1NA | yes | Used | non functional

## requested equipment (hidden)
CEDA Equipment for HVAC lab
line | Description | qty
1 | 70% natural draft FRN |  | on hand in lab
2 | 80% fan induced FRN
3 | 90% single stage FRN
4 | 95% variable firing rate FRN PSC/ECM/X13/EEM
5 | 95% two stage FRN PSC/ECM/X13/EEM
6 | Hot Water boiler 80% w/1 zone
7 | Hot Water boiler 90% w/multiple zones
8 | Steam Boiler
9 | Ducting w/high resistance fittings
10 | Ducting w/low resistance fittings
11 | Natural draft domestic water heater
12 | 90% domestic water heater
13 | forced draft domestic water heater
14 | ERV
15 | HRV
16 | combi boiler
17 | Add A/C to one unit
18 | Heat pump add to one furnace (hybrid system)
19 | heat pump w/elec FAF and air handler
20 | Package unit gas with A/C
Mobile Home
21 | Mobile home FAF Nat draft
22 | Mobile homeFAF 80%
23 | Mobile Home FAF condensing
24 | Mobile home electric FAF
25 | Mobile Home water heater in external closet
26 | Mobile home water heater in internal closet
Other Items
27 | Air source heat pump Domestic Water Heater
28 | EPA wood stove (optional) |  | optional
29 | oil fired FAF (used, reclaimed) |  | optional